## Slide 2: 测试内容
SISO | Cable Test |  | OTA Test
Tx (100MHz) | EVM ACLR SEM Ideal情况的测量 单个RFImp的测量 组合RFImp的测量 |  | EVM ACLR SEM Ideal情况的测量 组合RFImp的测量
Rx (100MHz) | Sensitivity | EVM Throughput Ideal情况的测量 单个RFImp的测量 组合RFImp的测量 | EVM Throughput Ideal情况的测量 组合RFImp的测量
 | Narrow Blocking |  | 
 | General Blocking |  | 
 | Intermodulation |  | 
Bandwidth=100MHz
Fc=3.5GHz

## Slide 3: Phase 2 Test
Phase2测试内容：
1、对仪表参数进行测试
2、Cable测试，Ideal情况下带入仪表参数仿真并比较结果
3、OTA测试，Ideal情况下带入方向图和仪表参数仿真并比较结果

## Slide 4: 仪表参数测试
Cable:
Power out=0dBm
DAC_Nbits=14
GainImbalance=0.002
IQ offset=0.0044
Phase Noise =[100, -97.133, 1000, -106.072, 1e4, -118.607];
Noise Density=-133.9dBm
OTA(Tx,Sensitivity):
Power out=10dBm
DAC_Nbits=14
GainImbalance=0.002
IQ offset=0.00045
Phase Noise =[100 -98.57 1e3 -107.56 1e4 -121.67];
Noise Density=-158.7dBm
OTA_Pathloss=-54.7dBm
OTA(Blocking,Intermodulation):
Power out=15dBm
DAC_Nbits=14
GainImbalance=0.002
IQ offset=0.00002
Phase Noise =[100 -98.57 1e3 -107.56 1e4 -121.67];
Noise Density=-156.3dBm
OTA_Pathloss=-46dBm

## Slide 5: Test Ideal Signal
Cable Test | Tx |  |  | Sensitivity | Narrow Blocking | General Blocking | Intermodulation
 | EVM(dB) | Upper_ ACLR(dB) | Lower_ ACLR(dB) | EVM(dB) | EVM(dB) | EVM(dB) | EVM(dB)
VXT | -48.256 | 53.746 | 53.966 | -2.407 | -8.099 | -8.05 | -8.379
Sim | -49.847 | 53.591 | 53.578 | -2.238 | -7.971 | -7.878 | -8.383
Delta |  |  |  |  |  |  | 

## Slide 6: VXT Test Tx Ideal Signal
EVM:-48.256dB
IQ offset:-47.392dB

## Slide 7: Sim Tx Ideal Signal
EVM:-49.847dB
IQoffset:-47.147dB

## Slide 8: Tx Ideal Signal VXT SEM VS Sim SEM

## Slide 9: VXT Test Sensitivity Ideal Signal

## Slide 10: Sim Sensitivity Ideal Signal

## Slide 11: VXT Test Narrow Blocking Ideal Signal

## Slide 12: Sim Narrow Blocking Ideal Signal

## Slide 13: VXT Test General Blocking Ideal Signal

## Slide 14: Sim General Blocking Ideal Signal

## Slide 15: VXT Test Intermodulation Ideal Signal

## Slide 16: Sim Intermodulation Ideal Signal

## Slide 17: OTA Test Ideal Signal
OTA Test | Tx |  |  | Sensitivity | Narrow Blocking | General Blocking | Intermodulation
 | EVM(dB) | Upper_ ACLR(dB) | Lower_ ACLR(dB) | EVM(dB) | EVM(dB) | EVM(dB) | EVM(dB)
VXT |  |  |  |  |  |  | 
Sim |  |  |  |  |  |  | 
Delta |  |  |  |  |  |  | 

## Slide 18: OTA VXT Test Tx Ideal Signal
EVM=-42.26
IQ offset=-46.947

## Slide 19: OTA Sim Tx Ideal Signal
EVM=-42. 29
IQ offset=-47.115

## Slide 20: OTA Tx Ideal Signal VXT SEM VS Sim SEM

## Slide 21: OTA VXT Test Sensitivity Ideal Signal

## Slide 22: OTA Sim Sensitivity Ideal Signal

## Slide 23: OTA VXT Test Narrow Blocking Ideal Signal

## Slide 24: OTA Sim Narrow Blocking Ideal Signal

## Slide 25: OTA VXT Test General Blocking Ideal Signal

## Slide 26: OTA Sim General Blocking Ideal Signal

## Slide 27: OTA VXT Test Intermodulation Ideal Signal

## Slide 28: OTA Sim Intermodulation Ideal Signal
Density=156.3
IQ offset=0.00002

## Slide 29: Phase 3 Test
Phase 3：
过Cable带入RFImp进行测试并于仿真结果对比
过OTA带入RFImp进行测试并于仿真结果对比
具体测试内容：
Cable单点测试：在仪表参数基础上对单一因素恶化10dB，恶化15dB以及EVM有明显变化的情况
Cable组合测试：在仪表参数基础上对所有因素恶化5dB，恶化10dB
OTA 组合测试：过OTA测试Ideal的情况与加一组RFImp的情况

## Slide 30: Tx Single RFImp PA Test
 | EVM(dB) |  |  | 1BW_Upper_ACLR |  |  | 1BW_Lower_ACLR |  | 
RF Imp | VXT | Sim | Delta | VXT | Sim | Delta | VXT | Sim | Delta
PA_TOI=20 | -37.54 | -37.974 | 0.434 | 43.945 | 44.369 | 0.424 | 44.108 | 44.426 | 0.318
PA_TOI=15 | -27.581 | -27.651 | 0.07 | 34.283 | 34.43 | 0.147 | 34.456 | 34.501 | 0.045

## Slide 31: VXT Test Tx Single RFImp PA=15
EVM:-27.581dB
IQoffset:-47.44dB

## Slide 32: Sim Tx Single RFImp PA=15
EVM:-27.651dB
IQoffset:-47.298dB

## Slide 33: Tx Single RFImp PA=15 VXT SEM VS Sim SEM

## Slide 34: Tx Single RFImp Phase Noise Test Compare
 | EVM(dB) |  |  | 1BW_Upper_ACLR |  |  | 1BW_Lower_ACLR |  | 
Phase Noise | VXT | Sim | Delta | VXT | Sim | Delta | VXT | Sim | Delta
-10dB | -48.27 | -49.823 | 1.553 | 53.883 | 53.565 | 0.318 | 54.132 | 53.559 | 0.573
-15dB | -48.256 | -48.869 | 0.613 | 53.869 | 53.551 | 0.318 | 54.118 | 53.568 | 0.55
-35dB | -44.057 | -44.852 | 0.795 | 54.041 | 53.543 | 0.502 | 54.316 | 53.567 | 0.749
-40dB | -32.341 | -32.389 | 0.047 | 54.069 | 53.529 | 0.48 | 54.367 | 53.581 | 0.786

## Slide 35: VXT Test Tx PhaseNoise = [100, -57.133, 1000, -66.072, 1e4, -78.607]
EVM:-32.341dB
IQoffset:46.802dB

## Slide 36: Sim Tx PhaseNoise = [100, -57.133, 1000, -66.072, 1e4, -78.607]
EVM:-32.359dB
IQoffset:-46.343dB

## Slide 37: VXT SEM VS Sim SEM

## Slide 38: DAC_Nbits Test Compare
 | EVM(dB) |  |  | 1BW_Upper_ACLR |  |  | 1BW_Lower_ACLR |  | 
DAC Nbits | VXT | Sim | Delta | VXT | Sim | Delta | VXT | Sim | Delta
14 | -48.458 | -49.843 | 1.385 | 53.743 | 53.563 | 0.18 | 53.926 | 53.579 | 0.347
12 | -48.434 | -48.813 | 0.379 | 53.773 | 53.507 | 0.224 | 54.005 | 53.502 | 0.503
10 | -48.299 | -49.204 | 0.905 | 52.503 | 52.285 | 0.218 | 52.685 | 52.281 | 0.404

## Slide 39: VXT Test Tx DAC_Nbits=10
EVM:-48.299dB
IQoffset:-47.494dB

## Slide 40: Sim Tx DAC_Nbits=10
EVM:-49.204dB
IQoffset:-47.121dB

## Slide 41: VXT SEM VS Sim SEM

## Slide 42: Tx GainImbalance Test Compare
 | EVM(dB) |  |  | 1BW_Upper_ACLR |  |  | 1BW_Lower_ACLR |  | 
Gain Imbalance | VXT | Sim | Delta | VXT | Sim | Delta | VXT | Sim | Delta
0.02 | -48.323 | -49.2 | 0.877 | 53.876 | 53.584 | 0.292 | 54.134 | 53.575 | 0.559
0.03 | -47.5 | -48.261 | 0.761 | 53.898 | 53.561 | 0.337 | 54.106 | 53.593 | 0.513
0.1 | -42.374 | -43.165 | 0.791 | 54.046 | 53.591 | 0.455 | 54.305 | 53.588 | 0.717
0.3 | -34.544 | -34.746 | 0.202 | 54.071 | 53.569 | 0.502 | 54.308 | 53.59 | 0.718

## Slide 43: VXT Test Tx GainImbalance=0.3
EVM:-34.544dB
IQoffset:-47.223dB

## Slide 44: Sim Tx GainImbalance=0.3
EVM:-34.746dB
IQoffset:-47.117dB

## Slide 45: VXT SEM VS Sim SEM

## Slide 46: Tx IQoffset Test Compare
 | EVM(dB) |  |  | 1BW_Upper_ACLR |  |  | 1BW_Lower_ACLR |  | 
IQ offset | VXT | Sim | Delta | VXT | Sim | Delta | VXT | Sim | Delta
0.014 | -48.308 | -49.806 | 1.498 | 53.839 | 53.603 | 0.236 | 54.134 | 53.586 | 0.548
0.025 | -48.302 | -49.553 | 1.251 | 53.852 | 53.602 | 0.25 | 54.143 | 53.607 | 0.536
0.2 | -41.065 | -42.133 | 1.068 | 54.045 | 53.421 | 0.624 | 54.269 | 53.449 | 0.82
0.4 | -32.981 | -33.456 | 0.475 | 54.07 | 53.377 | 0.693 | 54.284 | 53.388 | 0.896

## Slide 47: VXT Test Tx IQoffset=0.4
EVM:-32.981dB
IQoffset:-42.814dB

## Slide 48: Tx Single RFImp Sim IQoffset=0.4
EVM:-33.456dB
IQoffset:-42.827dB

## Slide 49: VXT SEM VS Sim SEM

## Slide 50: Tx Combine RFImp Test Compare
 | EVM(dB) |  |  | 1BW_Upper_ACLR |  |  | 1BW_Lower_ACLR |  | 
Combine Test | VXT | Sim | Delta | VXT | Sim | Delta | VXT | Sim | Delta
Origin Para | -48.256 | -49.847 | 1.591 | 53.746 | 53.591 | 0.155 | 53.966 | 53.578 | 0.388
Change 5dB | -45.294 | -46.33 | 1.036 | 50.969 | 51.347 | 0.378 | 51.21 | 51.369 | 0.159
Change 10dB | -37.388 | -37.69 | 0.302 | 43.794 | 44.096 | 0.312 | 43.969 | 44.182 | 0.213

## Slide 51: Tx VXT Combine RFImp Change 10dB Test
EVM:-37.388dB
IQoffset:-40.8dB

## Slide 52: Tx Combine RFImp Change 10dB Sim
EVM:-37.69dB
IQoffset:-41.316dB

## Slide 53: VXT SEM VS Sim SEM

## Slide 54: Sensitivity VXT Single RFImp Noise Figure Test
Noise Figure | VXT_EVM (%) | Sim_EVM (%) | Delta (%) | VXT_SNR (dB) | Sim_SNR (dB) | Delta (dB) | VXT_ Throughput (%) | Sim_ Throughput (%)
0 | 75.797 | 77.288 | 1.491 | 2.407 | 2.238 | 0.169 | 100 | 100
5 | 123.972 | 125.789 | 1.817 | -1.866 | -1.993 | 0.127 | 100 | 100
7 | 185.612 | 167.28 | 18.332 | -5.372 | -4.469 | 0.903 | 68 | 90
10 | 323.36 | 333.448 | 10.088 | -10.194 | -10.461 | 0.267 | 0 | 0

## Slide 55: Sensitivity VXT Single RFImp Test Noise Figure=7

## Slide 56: Sim Noise Figure=7

## Slide 57: PhaseNoise Test
PhaseNoise | VXT_EVM (%) | Sim_EVM (%) | Delta (%) | VXT_SNR (dB) | Sim_SNR (dB) | Delta (dB) | VXT_ Throughput (%) | Sim_ Throughput (%)
Change 10dB | 76.216 | 78.395 | 2.179 | 2.359 | 2.114 | 0.245 | 100 | 100
Change 15dB | 78.29 | 78.628 | 0.338 | 2.126 | 2.088 | 0.038 | 100 | 100
Change 65dB | 150.145 | 139.692 | 10.453 | -3.53 | -2.903 | 0.627 | 64 | 60

## Slide 58: VXT PhaseNoise=[100, -32.133, 1000, -41.072, 1e4, -53.607]

## Slide 59: Sim PhaseNoise=[100, -32.133, 1000, -41.072, 1e4, -53.607]

## Slide 60: Gain Imbalance Test
Gain Imbalance | VXT_EVM (%) | Sim_EVM (%) | Delta (%) | VXT_SNR (dB) | Sim_SNR (dB) | Delta (dB) | VXT_ Throughput (%) | Sim_ Throughput (%)
0.02 | 77.61 | 79.184 | 1.574 | 2.202 | 2.027 | 0.175 | 100 | 100
0.03 | 80.095 | 82.13 | 2.035 | 1.928 | 1.71 | 0.218 | 100 | 100
20 | 151.952 | 152.79 | 0.838 | -3.634 | -3.682 | 0.048 | 88 | 70

## Slide 61: VXT GainImbalance=20

## Slide 62: Sim GainImbalance=20

## Slide 63: IQ offset Test
IQ offset | VXT_EVM (%) | Sim_EVM (%) | Delta (%) | VXT_SNR (dB) | Sim_SNR (dB) | Delta (dB) | VXT_ Throughput (%) | Sim_ Throughput (%)
0.014 | 78.095 | 78.846 | 0.751 | 2.148 | 2.064 | 0.084 | 100 | 100
0.025 | 84.547 | 84.778 | 0.231 | 1.458 | 1.434 | 0.024 | 100 | 100
1.2 | 624.005 | 655.333 | 31.328 | -15.904 | -16.328 | 0.424 | 58 | 50

## Slide 64: VXT IQ offset=1.2

## Slide 65: Sim IQ offset=1.2

## Slide 66: ADC_Nbits Test
ADC_ Nbits | VXT_EVM (%) | Sim_EVM (%) | Delta (%) | VXT_SNR (dB) | Sim_SNR (dB) | Delta (dB) | VXT_ Throughput (%) | Sim_ Throughput (%)
14 | 75.797 | 77.288 | 1.491 | 2.407 | 2.238 | 0.169 | 100 | 100
12 | 78.357 | 80.035 | 1.678 | 2.118 | 1.934 | 0.184 | 100 | 100
10 | 79.693 | 81.703 | 2.01 | 1.972 | 1.755 | 0.217 | 100 | 100

## Slide 67: VXT ADC _Nbits=10

## Slide 68: Sim ADC _Nbits=10

## Slide 69: Combine Test
Combine Test | VXT_EVM (%) | Sim_EVM (%) | Delta (%) | VXT_SNR (dB) | Sim_SNR (dB) | Delta (dB) | VXT_ Throughput (%) | Sim_ Throughput (%)
Origin | 75.797 | 77.288 | 1.491 | 2.407 | 2.238 | 0.169 | 100 | 100
Change 5dB | 134.103 | 135.736 | 1.633 | -2.549 | -2.654 | 0.105 | 100 | 100
Change 10dB | 186.985 | 209.631 | 22.646 | -5.436 | -6.429 | 0.993 | 74 | 50

## Slide 70: VXT Combine Test (Change 5dB)

## Slide 71: Sim Combine Test (Change 5dB)

## Slide 72: VXT Combine Test (Change 10dB)

## Slide 73: Sim Combine Test (Change 10dB)

## Slide 74: VXT Noise Figure=13

## Slide 75: Sim Noise Figure=13

## Slide 76: Phase Noise Test
Phase Noise | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
-10dB | -7.385 | -7.449 | 0.064 | 100 | 100
-15dB | -7.191 | -7.17 | 0.021 | 100 | 100
-70dB | 3.916 | 4.182 | 0.266 | 30 | 25

## Slide 77: VXT Phase Noise =[100, -27.133, 1000, -36.072, 1e4, -48.607]

## Slide 78: Sim Phase Noise =[100, -27.133, 1000, -36.072, 1e4, -48.607]

## Slide 79: GainImbalance Test
Gain Imbalance | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
0.02 | -7.81 | -7.802 | 0.008 | 100 | 100
0.03 | -7.637 | -7.545 | 0.092 | 100 | 100
16 | -0.576 | -0.65 | 0.074 | 55 | 65

## Slide 80: VXT GainImbalance=16

## Slide 81: Sim GainImbalance=16

## Slide 82: IQ offset Test
IQ offset | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
0.0014 | -6.817 | -6.222 | 0.595 | 100 | 100
0.0045 | -3.336 | -3.321 | 0.015 | 100 | 100
0.05 | 24.488 | 24.066 | 0.422 | 5 | 5

## Slide 83: VXT IQ offset =0.05

## Slide 84: Sim IQ offset=0.05

## Slide 85: ADC_Nbits Test
ADC_Nbits | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
14 | -8.099 | -7.971 | 0.128 | 100 | 100
12 | -7.891 | -7.912 | 0.021 | 100 | 100
10 | -7.652 | -7.698 | 0.046 | 100 | 100

## Slide 86: VXT ADC_Nbits=10

## Slide 87: Sim ADC_Nbits=10

## Slide 88: Combine Test
Combine Test | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
Origin Para | -8.099 | -7.971 | 0.128 | 100 | 100
Change 5dB | -3.001 | -2.986 | 0.015 | 100 | 100
Change 10dB | 2.924 | 3.073 | 0.149 | 100 | 100

## Slide 89: VXT Combine Test Change 10dB

## Slide 90: Sim Combine Test Change 10dB

## Slide 91: Noise Figure Test
Noise Figure | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
0 | -8.05 | -7.878 | 0.172 | 100 | 100
5 | -2.865 | -2.712 | 0.153 | 100 | 100
10 | 2.366 | 2.19 | 0.176 | 100 | 100
13 | 6.304 | 6.249 | 0.055 | 90 | 35

## Slide 92: VXT Noise Figure=13

## Slide 93: Sim Noise Figure=13

## Slide 94: Phase Noise Test
Phase Noise | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
-10dB | -7.748 | -7.723 | 0.025 | 100 | 100
-15dB | -7.605 | -7.532 | 0.073 | 100 | 100
-65dB | -3.846 | -4.051 | 0.205 | 75 | 70

## Slide 95: VXT Phase Noise =[100, -32.133, 1000, -41.072, 1e4, -53.607]

## Slide 96: Sim Phase Noise =[100, -32.133, 1000, -41.072, 1e4, -53.607]

## Slide 97: GainImbalance Test
Gain Imbalance | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
0.02 | -7.822 | -7.588 | 0.234 | 100 | 100
0.03 | -7.785 | -7.573 | 0.212 | 100 | 100
8 | 11.205 | 11.675 | 0.47 | 95 | 75

## Slide 98: VXT GainImbalance=8

## Slide 99: Sim GainImbalance=8

## Slide 100: IQ offset Test
IQ offset | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
0.0014 | -6.819 | -6.32 | 0.499 | 100 | 100
0.0045 | -3.602 | -3.485 | 0.117 | 100 | 100
0.04 | 1.762 | 1.721 | 0.041 | 25 | 25

## Slide 101: VXT IQ offset =0.04

## Slide 102: Sim IQ offset=0.04

## Slide 103: ADC_Nbits Test
ADC_Nbits | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
14 | -8.05 | -7.878 | 0.172 | 100 | 100
12 | -7.91 | -7.886 | 0.024 | 100 | 100
10 | -7.729 | -7.621 | 0.108 | 100 | 100

## Slide 104: VXT ADC_Nbits=10

## Slide 105: Sim ADC_Nbits=10

## Slide 106: Combine Test
Combine Test | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
Origin Para | -8.05 | -7.878 | 0.172 | 100 | 100
Change 5dB | -3.022 | -2.841 | 0.181 | 100 | 100
Change 10dB | 2.433 | 2.327 | 0.106 | 100 | 100

## Slide 107: VXT Combine Test Change 5dB

## Slide 108: Sim Combine Test Change 5dB

## Slide 109: VXT Combine Test Change 10dB

## Slide 110: Sim Combine Test Change 10dB

## Slide 111: Noise Figure Test
Noise Figure | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
0 | -8.379 | -8.383 | 0.004 | 100 | 100
5 | -3.32 | -3.551 | 0.231 | 100 | 100
10 | 1.853 | 1.816 | 0.037 | 100 | 100
13 | 6.401 | 6.254 | 0.147 | 15 | 30

## Slide 112: VXT Noise Figure=13

## Slide 113: Sim Noise Figure=13

## Slide 114: Phase Noise Test
Phase Noise | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
-10dB | -8.293 | -8.288 | 0.005 | 100 | 100
-15dB | -8.195 | -8.189 | 0.006 | 100 | 100
-65dB | -0.533 | -0.541 | 0.008 | 65 | 65

## Slide 115: VXT Phase Noise =[100, -32.133, 1000, -41.072, 1e4, -53.607]

## Slide 116: Sim Phase Noise =[100, -32.133, 1000, -41.072, 1e4, -53.607]

## Slide 117: GainImbalance Test
Gain Imbalance | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
0.02 | -8.061 | -8.103 | 0.042 | 100 | 100
0.03 | -7.992 | -8.032 | 0.04 | 100 | 100
16 | -1.885 | -1.758 | 0.127 | 60 | 65

## Slide 118: VXT GainImbalance=16

## Slide 119: Sim GainImbalance=16

## Slide 120: IQ offset Test
IQ offset | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
0.002 | -5.935 | -5.342 | 0.593 | 100 | 100
0.0035 | -4.496 | -3.56 | 0.936 | 100 | 100
0.03 | 25.316 | 25.341 | 0.025 | 60 | 60

## Slide 121: VXT IQ offset =0.03

## Slide 122: Sim IQ offset=0.03

## Slide 123: ADC_Nbits Test
ADC_Nbits | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
14 | -8.379 | -8.383 | 0.004 | 100 | 100
12 | -8.084 | -8.046 | 0.038 | 100 | 100
10 | -7.555 | -7.757 | 0.202 | 100 | 100

## Slide 124: VXT ADC_Nbits=10

## Slide 125: Sim ADC_Nbits=10

## Slide 126: Combine Test
Combine Test | VXT_EVM | Sim_EVM | Delta | VXT_Throughput | Sim_Throghput
Origin Para | -8.379 | -8.383 | 0.004 | 100 | 100
Change 5dB | -3.104 | -2.9 | 0.204 | 100 | 100
Change 10dB | 1.972 | 2.402 | 0.43 | 100 | 100

## Slide 127: VXT Combine Test Change 5dB

## Slide 128: Sim Combine Test Change 5dB

## Slide 129: VXT Combine Test Change 10dB

## Slide 130: Sim Combine Test Change 10dB

## Slide 131: OTA Test Para

## Slide 132: OTA Test Result

## Slide 133: Test OTA Tx RFImp
EVM=-34.409
IQ offset=-35.376

## Slide 134: Sim OTA Tx RFImp
EVM=-34.924
IQ offset=-35.443

## Slide 135: VXT SEM VS Sim SEM

## Slide 136: Test OTA Sensitivity RFImp

## Slide 137: Sim OTA Sensitivity RFImp

## Slide 138: Test OTA RFImp Narrow Blocking

## Slide 139: Sim OTA RFImp Narrow Blocking

## Slide 140: Test OTA RFImp General Blocking

## Slide 141: Sim OTA RFImp General Blocking

## Slide 142: OTA RFImp Intermodulation Test

## Slide 143: Sim OTA RFImp Intermodulation